New Matrix

Extro Kia Table Mounted Sink Mixer with Swivel Spout (Dual Handle)

📝 Product Description:

The Extro Kia Table Mounted Sink Mixer is an elegant dual-handle faucet designed for deck mounting, equipped with a high-arched swivel spout that provides full coverage and convenience for kitchen or basin use.

⭐ 5 Key Features (Single Line Each):

- Dual lever design allows precise control of hot and cold water

- 360° swivel spout for maximum reach and flexibility

- Durable brass body with mirror-finish chrome plating

- Smooth operation with quarter-turn ceramic disc cartridges

- Ideal for modern kitchen or basin installations

📐 Product Specifications:

- Material: Brass

- Finish: Chrome-plated

- Mount Type: Table/deck-mounted

- Spout Type: Swivel spout

- Handle Type: Dual lever handles

- Cartridge Type: Quarter-turn ceramic disc

- Usage: Kitchen sinks or basin counters

Extro Kia Wall Mixer with L-Bend for Overhead and Hand Shower

📝 Product Description:

The Extro Kia Wall Mixer is a sleek, wall-mounted fixture combining modern style and multi-functionality, offering seamless switching between overhead shower and hand shower with a robust, chrome-plated brass body.

⭐ 5 Key Features (Single Line Each):

- Dual-handle wall mixer with provision for overhead and hand shower

- Sleek lever handles ensure easy and smooth operation

- Anti-corrosive chrome finish for long-lasting shine

- Made with high-quality brass for superior durability

- Perfect for contemporary bathroom spaces

📐 Product Specifications:

- Material: Brass

- Finish: Chrome-plated

- Mount Type: Wall-mounted

- Type: Wall Mixer with L-bend

- Handle Type: Dual lever handles

- Function: Controls overhead shower and hand shower

- Application: Bathroom – shower area

Extro Modern Wall Mixer with L-Bend for Overhead & Hand Shower

📝 Product Description:

The Extro Modern Wall Mixer is an elegantly designed dual-control faucet that combines water flow precision with seamless switching between overhead and hand showers—ideal for contemporary bathrooms.

⭐ 5 Key Features (Single Line Each):

- Dual-lever design offers smooth and independent hot/cold water control

- L-bend provision for simultaneous use with overhead and hand showers

- Mirror-like chrome finish for aesthetic appeal and rust resistance

- Brass body ensures long-term durability and strength

- Ergonomic lever handles for easy grip and operation

📐 Product Specifications:

- Material: Heavy-duty brass

- Finish: Premium chrome plating

- Mount Type: Wall-mounted

- Type: Wall mixer with L-bend attachment

- Control Mechanism: Dual-lever operation

- Application: Suitable for bathroom shower zones

- Inlet Connection: Standard wall inlet with overhead output

Extro Wall Mounted Sink Mixer with Swivel Spout

📝 Product Description:

The Extro Wall Mounted Sink Mixer with Swivel Spout combines functionality and modern design, allowing precise control of hot and cold water with a rotating spout—perfect for kitchen and utility sinks.

⭐ 5 Key Features (Single Line Each):

- Wall-mounted design ensures space-saving and clutter-free installation

- Dual-lever system allows accurate temperature and flow control

- Swivel spout offers flexible reach for wider sink coverage

- Chrome-plated finish resists corrosion and adds a glossy touch

- High-quality brass construction ensures long-lasting durability

📐 Product Specifications:

- Material: Solid brass body

- Finish: Chrome-plated

- Mount Type: Wall-mounted

- Spout Type: 360° rotating swivel spout

- Operation: Dual-lever control

- Application: Ideal for kitchen and wash basin areas

- Connection Type: Standard wall inlet

Extro Table Mounted Sink Mixer with Swivel Spout

📝 Product Description:

This modern table-mounted sink mixer features a high curved swivel spout and a single-lever control, combining style with functionality for effortless use in kitchen or utility areas.

⭐ 5 Key Features (Single Line Each):

- High-rise swivel spout offers enhanced sink access and flexibility

- Single-lever operation ensures smooth flow and temperature control

- Durable chrome-plated brass resists corrosion and tarnish

- Compact table-mounted design saves space and simplifies installation

- Ideal for modern kitchens and countertops

📐 Product Specifications:

- Material: Solid brass body

- Finish: Chrome-plated

- Mount Type: Table-mounted (deck mounted)

- Spout Type: 360° rotating swivel spout

- Operation: Single lever

- Usage Area: Kitchen, Pantry, Utility Sink

- Cartridge Type: Ceramic disc for long life

Extro Wall Mounted Sink Tap with Swivel Spout

📝 Product Description:

A sleek and durable wall-mounted sink tap with a high-arc swivel spout and single lever for effortless water flow and control, perfect for kitchen and utility settings.

⭐ 5 Key Features (Single Line Each):

- Wall-mounted design ideal for compact kitchen or utility spaces

- High-rise swivel spout allows wide sink coverage and maneuverability

- Single lever ensures smooth and precise control of water flow

- Sturdy brass construction with chrome finish resists rust and tarnish

- Simple installation with standard wall inlet connection

📐 Product Specifications:

- Material: Solid brass body

- Finish: Chrome-plated

- Mount Type: Wall-mounted

- Spout Type: Rotating swivel spout

- Operation: Single lever control

- Usage Area: Kitchen, Pantry, Utility Sink

- Cartridge: Ceramic disc cartridge for durability

Extro Angle Valve with Wall Flange and Dual Outlet

📝 Product Description:

A versatile and compact angle valve designed for wall mounting, offering dual outlet control for geysers, washing machines, or health faucets, with sleek modern aesthetics and high durability.

⭐ 5 Key Features (Single Line Each):

- Dual outlet functionality for multi-purpose water connections

- Stylish single lever handle for smooth control

- Corrosion-resistant chrome finish ensures long-lasting shine

- Compact design with wall flange for clean installation

- Brass body construction for strength and longevity

📐 Product Specifications:

- Material: Solid brass

- Finish: Polished chrome

- Mount Type: Wall-mounted with flange

- Control Type: Single lever

- Outlets: Dual (main + auxiliary)

- Application: Geyser, washing machine, health faucet, etc.

- Valve Type: Quarter turn ceramic disc

Extro Basin Mixer with Single Lever

📝 Product Description:

A sleek and contemporary basin mixer with a single lever design, ideal for modern wash areas offering smooth water flow control and premium finish.

⭐ 5 Key Features (Single Line Each):

- Single lever control for effortless temperature and flow adjustment

- Smooth and stylish design to complement any modern basin

- High-quality chrome finish resists tarnishing and corrosion

- Durable ceramic disc cartridge for leak-proof performance

- Easy to install with standard plumbing fittings

📐 Product Specifications:

- Material: Solid brass

- Finish: Polished chrome

- Mount Type: Deck mounted

- Control Type: Single lever

- Cartridge: 35mm ceramic disc cartridge

- Suitable For: Washbasins and vanity sinks

- Connection Size: Standard 1/2" BSP

Concealed Basin Mixer Body with Lever Handle

📝 Product Description:

A durable and precision-engineered concealed basin mixer body with an elegant chrome-plated lever, ideal for in-wall installation in modern bathrooms or wash areas.

⭐ 5 Key Features (Single Line Each):

- Robust brass body ensures long-lasting performance

- Concealed design enhances wall aesthetics and space efficiency

- Sleek chrome-plated lever offers easy flow and temperature control

- Compatible with most standard ceramic cartridges

- Ideal for basin areas requiring a minimalist and clean look

📐 Product Specifications:

- Material: Forged brass body with chrome-plated handle

- Mount Type: Concealed wall installation

- Handle Type: Single lever

- Finish: Chrome handle with raw brass body

- Cartridge Compatibility: Standard 35mm ceramic cartridge

- Inlet/Outlet Connection: 1/2" BSP threaded

- Application: Bathroom basins and wash counters

Angle Valve with Handle

📝 Product Description:

A sleek and durable angle valve with a designer handle, perfect for controlling water flow to fixtures like geysers, faucets, or health faucets in modern bathrooms.

⭐ 5 Key Features (Single Line Each):

- Precision-engineered for smooth operation and flow control

- Chrome-plated finish for corrosion resistance and shine

- Ergonomic handle for easy grip and operation

- Wall flange included for neat installation

- Compatible with all standard bathroom and kitchen fittings

📐 Product Specifications:

- Material: Brass body with chrome finish

- Mount Type: Wall-mounted with round flange

- Handle Type: Lever handle

- Finish: Mirror chrome-plated

- Inlet/Outlet Size: 1/2” BSP thread

- Control Mechanism: Quarter-turn

- Application: Geysers, faucets, WC fittings, and washing machines

Wall Mounted Bib Tap with Lever Handle

📝 Product Description:

A contemporary wall-mounted bib tap with a single lever handle, offering smooth water control and elegant aesthetics for modern bathrooms or utility areas.

⭐ 5 Key Features (Single Line Each):

- Sleek single-lever design for effortless water control

- High-quality brass body with corrosion-resistant chrome finish

- Compact and minimalistic for wall installations

- Durable ceramic disc for leak-free performance

- Compatible with washbasins, utility areas, or garden use

📐 Product Specifications:

- Material: Brass with chrome plating

- Mount Type: Wall-mounted

- Handle Type: Single lever

- Finish: Polished chrome

- Inlet Connection: 1/2" BSP thread

- Valve Mechanism: Ceramic disc cartridge

- Usage: Bathrooms, utility sinks, washing areas

Extended Wall Mounted Bib Tap with Lever Handle

📝 Product Description:

A premium extended-reach wall-mounted bib tap featuring a sleek lever handle and chrome finish, ideal for kitchen sinks or utility areas requiring extended water projection.

⭐ 5 Key Features (Single Line Each):

- Extended spout design for wider reach and convenience

- Single lever operation for precise water control

- Rust- and corrosion-resistant chrome-plated brass body

- Ceramic cartridge ensures long-lasting, leak-free use

- Ideal for kitchens, utility zones, and wall-mounted setups

📐 Product Specifications:

- Material: Brass body with chrome finish

- Mount Type: Wall-mounted

- Handle Type: Single lever

- Spout Type: Extended straight spout

- Finish: Mirror polished chrome

- Connection Size: 1/2" BSP

- Valve Mechanism: Ceramic disc cartridge

- Applications: Kitchen sinks, washing areas, utility counters

Wall Mixer with L-Bend Pipe (Telephonic Shower Provision)

📝 Product Description:

A robust wall-mounted mixer faucet with an "L" bend pipe and telephonic shower attachment support. Perfect for bath areas, it enables controlled flow between tap and shower via diverter.

⭐ 5 Key Features (Single Line Each):

- L-bend pipe provides direct overhead shower connection

- Dual-lever control ensures precise hot and cold water mixing

- In-built diverter for easy switch between spout and shower

- Mirror finish with rust- and corrosion-resistant body

- Heavy-duty brass construction for long-lasting durability

📐 Product Specifications:

- Material: Brass with chrome finish

- Mount Type: Wall-mounted

- Spout Type: Short body with down outlet

- Handle Type: Dual lever with central diverter knob

- Inlet Connections: 3/4" BSP hot & cold inlets

- Shower Pipe: Included L-bend pipe with shower outlet

- Finish: Glossy chrome-plated

- Application: Bathrooms – shower and bath tub areas

Matrix Single Lever Basin Mixer (Without Popup Waste)

📝 Product Description:

A sleek, modern single-lever basin mixer designed for countertop wash basins. Combines elegant aesthetics with smooth operation and water-saving functionality.

⭐ 5 Key Features (Single Line Each):

- Single lever operation for effortless flow and temperature control

- Aerator ensures smooth, splash-free water flow

- Corrosion-resistant chrome finish maintains shine

- Sturdy brass body with long-lasting ceramic cartridge

- Compact and stylish design ideal for modern bathrooms

📐 Product Specifications:

- Material: Brass body with chrome plating

- Mount Type: Deck-mounted (countertop installation)

- Cartridge: 35mm ceramic disc cartridge

- Finish: Glossy chrome

- Control Type: Single lever for hot & cold mixing

- Aerator Type: Foam flow

- Inlet Connection: Flexible braided hoses (1/2" BSP)

- Application: Bathroom basin / vanity basin

Matrix Wall Mixer Spout – 2-in-1 with Lever Handle

📝 Product Description:

A premium wall-mounted spout mixer that offers seamless control of water flow and temperature, ideal for use with wash basins or bathtubs. Its contemporary design enhances modern bathroom interiors while ensuring functionality.

⭐ 5 Key Features (Single Line Each):

- Sleek single-lever operation for precise temperature and flow control

- Wall-mounted design saves space and offers clean aesthetics

- Mirror-finish chrome plating ensures long-lasting shine

- Solid brass construction ensures durability and corrosion resistance

- Fitted with a foam flow aerator for smooth, splash-free water output

📐 Product Specifications:

- Material: Brass with chrome finish

- Mount Type: Wall-mounted

- Handle Type: Single lever

- Cartridge: 35mm ceramic disc cartridge

- Finish: Polished chrome

- Water Flow: Foam flow with aerator

- Installation Type: Concealed body with exposed spout

- Application: Suitable for wash basin, bath area, or utility sink